## Slide 1
The Impact of IAQ on
Health and Productivity
Stephanie Taylor, MD, M Arch
May 14, 2026

## Slide 2: Hi, I am honored to be here tonight!
Massachusetts General Hospital
Harvard Medical School
ASHRAE Distinguished Lecturer
Member of: GP45C, SGP10, TC 9.6
ThinkLite Air, Medical Advisor
US Green Building Council
Technical Advisory Group
Luigi 2009-2024
My forever-buddy and inspiration

## Slide 3: Thanks to my colleagues:
M. Colin Tasi, MD, MBA: Massachusetts General Hospital, Brigham & Women’s Hospital
Traci Hanegan, PE: Coffman Engineers, Spokane, WA
Stan Finkelstein, MD: Harvard Medical School, Massachusetts Institute of Technology
Lisa Robinson, MPH: Harvard T.C. Chan School of Public Health
John Levy, PhD: Boston University School of Public Health
Dinesh Wadhwani CEO, Brady Shwartz, Sarmad Barrak, Barry Fleischer, Craig Behenna: ThinkLite Air, Natick, MA

## Slide 4: Learning objectives
Understand how IAQ impacts our health and thinking:
Our microbiome
Immune system
All tissues
Translate air monitoring data into a medically-verified IAQ Health Index
Support efficient ventilation strategies based on indoor and outdoor AQ
Develop Return-On-Investment reports on IAQ improvements that support healthy and productive occupants
Notes: Georgi

## Slide 5
My background
Understand 3 dimensions of IAQ’s impact on our health and thinking:
Our microbiome
Immune system
All tissues
Translate air monitoring data into a medically-based IAQ Health Index
Manage ventilation based on indoor and outdoor air quality
The Return-On-Investment of IAQ that supports healthy and productive occupants
Tonights’s presentation
Notes: Georgi

## Slide 6
My background
Understand 3 dimensions of IAQ’s impact on our health and thinking:
Our microbiome
Immune system
All tissues
Translate air monitoring data into a medically-based IAQ Health Index
Manage ventilation based on indoor and outdoor air quality
The Return-On-Investment of IAQ that supports healthy and productive occupants
Today’s presentation
Notes: Georgi

## Slide 7: My journey to you, starting in Papua New Guinea

## Slide 8: Surfaces looked dirty, yet patients did well
Wewak General Hospital, Papua New Guinea

## Slide 9: Yet in the US, hospital infections are a leading cause of death
Harvard Medical School
Chief-of-Surgery, M. Judah Folkman, M.D. working with medical student
Stephanie Taylor
“Never under-estimate the role of the environment!”

## Slide 10
Housing: | 800 BC - 500 AC simple sanitation, in rural villages | 1900 AC central sewage & water systems, heating, electricity, antibiotics & vaccines | 2026 post-industrial cities, tighter buildings, dryer and warmer indoor air
Infectious diseases: | Parasites, zoonotic infections | Small pox, measles, 1st pandemic “Spanish flu” | Increasing viral spillovers, anti-resistant bacteria, new fungal species
Infectious & inflammatory diseases
The history of human shelters and disease evolution
“We shape our buildings, then they kill us!” - Dr. Dickerman
Notes: Over more than350’000 year humans evolved parallel to the microbiome of outside world.
In the last 200 to 300 years housing, lifestyle, population density and mobility have changed dramatically!
Microbes easily evolve with these changes, having a much greater adaptive capacity than human physiology.

## Slide 11: Together we must unite building science & medicine
Building Management
  Reduce energy use
  Avoid disasters
  Follow best practices and
  codes
Medical Care
  Heal patients
  Follow clinical protocols
  Avoid lawsuits
Make occupant health the NORTH STAR for IAQ management

## Slide 12
My background
Understand 3 dimensions of IAQ’s impact on our health and thinking:
Our microbiome
Immune system
All tissues
Translate air monitoring data into a medically-based IAQ Health Index
Manage ventilation based on indoor and outdoor air quality
The Return-On-Investment of IAQ that supports healthy and productive occupants
Today’s presentation
Notes: Georgi

## Slide 13: Air –our biggest environmental exposure
What is the surface area of a fully clothed person?

## Slide 14: Air –our biggest environmental exposure

## Slide 15: Air –our biggest environmental exposure
Gas exchange surface area of an adult’s lungs is ~70–100 m²
13,000 liters of air are inhaled every day
Surface area of adult’s skin: ~1.5–2.0 m²

## Slide 16: IAQ affects much more than comfort and detectible odors

## Slide 17: A closer look at our indoor environment
Notes: A closer look at building inhabitants

## Slide 18
IAQ and the human microbiome
Today’s presentation
Notes: Georgi

## Slide 19: Genetic analysis tools have revealed a robust indoor microbial world
“Gene-o-scope” 2018
by our eyes alone
we see nothing!
by microscopy
we can detect thousands of microbes
genome sequencing
has uncovered trillions of microbes
that inhabit our buildings

## Slide 20
Each of us is a living ecosystem
They’re Living Among Us! They Are Invisible! What Should We Do About the Building Microbiome?
Seminar 16. Sunday, June 28 1:30 PM – 3:00 PM CDT

## Slide 21
Microbial cells ~ 100 trillion
Human cells ~ 30 trillion
Don’t worry, most of these microbes are good for us, helping our:
    digestion and metabolism
    mental health
    immune system
We now know that each of us is an ecosystem of microbes!
Trillions of microbes, mostly bacteria, with some viruses and fungi, colonize our skin, upper airways, intestines and vaginas (if you have one).

## Slide 22
We need the “good” microbes
Historical (and Incorrect) Approach to Hygiene
“All microbes are bad germs that require total eradication."
“Good microbes are essential to our health.”
Overzealous disinfection with harsh chemicals can result in takeover by pathogens.
Correct Approach to Hygiene

## Slide 23
Not surprisingly, human and building microbes intermingle
Occupants send microbes into buildings
(37 million microbes per person per hour)
Building materials and IAQ determine which microbes survive indoors and interact with occupants

## Slide 24
IAQ and our immune system
Today’s presentation
Notes: Georgi

## Slide 25
Air determines our exposures AND impacts our immune defenses
Notes: Bourouiba, L., Dehandschoewercker, E., and Bush, J. W. M. (2014) Journal of Fluid Mechanics

## Slide 26: My startling and eye-opening study 13 years ago
Monitor 10 patient rooms and associated nursing stations for 13 months

## Slide 27: 2013 study: Patient infections and the indoor environment
8M datapoints on environmental parameters
Staff & visitor hand cleaning
Room traffic
Outdoor air fractions
Temperature
CO2 level
Room air changes
Lux
Room pressurization
Absolute humidity
patient room data
Relative humidity
new infections in patients
472 patient records

## Slide 28
Average RH for all patient rooms
As patient room RH went down, HAIs went up!
Diversity of microbes

## Slide 29: Infections in an assisted living environment over 4 yrs
Avg # of infections
Respiratory
(bacterial & viral)
Gastrointestinal
(Noro-virus, C diff)
Urinary tract infections
Cellulitis
Eye infections
Except for UTIs, infection rates were lowest when indoor RH > 40%
40 %
60 %
Indoor RH

## Slide 30
Triple whammy of relative humidity less than 40%
RH < 40%
RH > 40%
Notes: Human respiratory immune defenses are significantly harmed by inhalation of dry air.
Airborne particles travel farther and persist in the breathing zone for longer when indoor humidity is low
Many viruses and bacteria in exhaled bioaerosols are more infectious when indoor humidity is low

## Slide 31
The impact of low humidity
Dry air steals moisture from wherever it can
– a universal law of physics

## Slide 32
Today’s presentation
IAQ and tissue damage
Notes: Georgi

## Slide 33
Measuring single IAQ pollutants is a start, but does not capture the full picture
Single contaminant studies on IAQ and cognitive functioning
Chess players made 26% more mistakes when PM2.5 was increased by 10µg/m3
Incorrect calls by umpires increased 11.5% when CO was increased by 1ppm and by 2.6% when PM2.5 was increased by 10 μg/m3
The probability of failing a high-stakes exam was increased by 2% when PM2.5 was increased by 10µg/m3

## Slide 34: IAQ contaminants usually do not exist in isolation
We must track combined exposure patterns and interpret through mechanisms that include neuroendocrine stress, inflammation, oxidative stress, and metabolic strain
Polar gases are water soluble and dissolve in body fluids
Nonpolar gases can penetrate directly through cell membranes

## Slide 35
And harm our brain both acutely and chronically
PM 2.5
PC 0.1-10
ozone
NO2
SO2
CO
etc.
Oxidative stress
DNA damage
Cell dysfunction
↓neurotransmitters
Alzheimer’s /Parkinson’s
Poor memory
Fatigue
Combined contaminants penetrate the blood/brain barrier
Notes: Gawryluk, J.R., Palombo, D.J., Curran, J. et al. Brief diesel exhaust exposure acutely impairs functional brain connectivity in humans: a randomized controlled crossover study. Environ Health 22, 7 (2023). https://doi.org/10.1186/s12940-023-00961-4

## Slide 36
My background
Understand 3 dimensions of IAQ’s impact on our health and thinking:
Our microbiome
Immune system
All tissues
Translate air monitoring data into a medically-based IAQ Health Index
Manage ventilation based on indoor and outdoor air quality
The Return-On-Investment of IAQ that supports healthy and productive occupants
Today’s presentation
Notes: Georgi

## Slide 37
A human-centered IAQ platform
Respiratory
Cognitive
Immune System
Cardiovascular
Quantify and manage health impact of IAQ
Inflammation

## Slide 38
4 steps from monitoring to remediation
MEASURE
1
IAQ & HEALTH
Analysis
CALCULATE OUTDOOR & IAQ HEALTH IMPACT
CONTINUOUSLY MONITOR INDOOR & OUTDOOR AIR
ANALYZE
COMMUNICATE
REMEDIATE
REPORT TO CUSTOMER
In-duct Sensor
Indoor Sensors
IMPLEMENT ENERGY EFFICIENT IAQ MANAGEMENT AT THE CENTRAL OR IN-SPACE LEVEL
2
3
4

## Slide 39
Figure out what needs to be monitored
cognitive function
headaches
dementia
lung function
infections
asthma
heart attacks
strokes
heart failure
type 2 diabetes
obesity
inflammatory bowel disease
cancer
autoimmunity/allergies
fertility

## Slide 40
Measure particle counts (PC) as well as particulate mass (PM) to capture penetrating <0.3 um particles

## Slide 41: Analyze the composite health impact on human physiology
RH
TEMP
PC1.0
PM10
TVOCs
CO
CO2
NO2
O3
PM2.5
INTERRELATED indoor air components influence health
Humidity
TEMP
PM1.0 -10
PC0.1-10
TVOCs
O3
CO
CO2
NO2
Brain
Function
Immune
System
Microbiome
Cardio-vascular
Notes: https://www.niehs.nih.gov/health/topics/agents/air-pollution

## Slide 42
IAQ contaminants affect our bodies through only a few routes
Temp
Humidity
O₃
Particles
VOCs
NO₂
CO₂
CO
Oxidative Stress
Inflammation
Immune dysfunction
Cell Barrier Damage
Microbiome Shift
Lungs: respiratory epithelium, gas exchange
Brain: inflammation,
blood/brain barrier breach
Heart: endothelial
& rhythm dysfunction
Immunity:iinnate & adaptive response deregulation
Microbiome:
gut–lung–brain disruption
🛡️

## Slide 43
Organs Impacted → Resulting Diseases
Lungs: increased respiratory epithelium leakiness, broncospasm
Brain: neuroinflammation,
blood/brain barrier disruption
Heart: endothelial
& rhythm dysfunction
Immunity:I
innate & adaptive response suppression
Microbiome:
gut–lung–immunity disruption
🛡️
Asthma exacerbation, acute bronchitis, reduced lung function, eye/throat irritation
Chest tightness, angina, myocardial infarction, arrythmias
Headache, dizziness, cognitive impairment, fatigue, decreased hand-eye coordination
Mucosal drying, increased barrier penetration, increased susceptibility to infections
Decreased microbiome diversity, higher number of pathogenic organisms

## Slide 44
Blood markers verify the health impacts of IAQ exposures
Blood biomarkers reveal much about how environmental exposures influence biological pathways and disease risk

## Slide 45: Report through a dashboard which organs are most affected by IAQ
In this example, IAQ was found to be most harmful to the brain and immune system

## Slide 46: And indicate when remediation is effective
IAQ supports all systems

## Slide 47: Measurements and trends can also be seen

## Slide 48
My background
Understand 3 dimensions of IAQ’s impact on our health:
Microbiome
Immune system
Exposed tissues
Translate air monitoring data into a medically-based IAQ Health Index
Manage ventilation based on indoor and outdoor air quality
The Return-On-Investment of healthy and productive occupants
Today’s presentation
Notes: Georgi

## Slide 49
Energy conservation vs. managing IAQ for health
Protect the occupants
Conserve Energy
0
10
20
30
40
50
60
70
80
100
90
Reduce energy consumption
Energy costs are immediate
Decarbonization is a high priority
Manage IAQ for occupant health
Decrease infections
Reduce staff absenteism
Increase work performance

## Slide 50
OUTDOOR AIR quality
PARTICLES
TEMPERATURE & RH
GASES
Knowing indoor and outdoor air quality reveals efficient solutions
Outdoor air quality determines the most effective ventilation, filtration and air cleaning schedule
ANALYSE PHYSIOLOGIC IMPACTS
IMPLEMENT BMS or MANUAL REMEDIATION
REAL-TIME SENSORS MEASURE IAQ CONSTITUENTS
IDENTIFY REMEDIATION STEPS
IAQ
REMEDIATION

## Slide 51: Give your building an "autonomic nervous system"
Key:
24v AC
Direct Wire
BMS
Building / Plant Controllers
BACnet/IP
Ethernet Cat5/6
Wireless Access Point
BACnet MSTP
MODBUS
Power-over-Ethernet
(PoE)
Network Switch
Local Server Deployment (optional)
BACnet/IP
Wifi
Ethernet Cat5/6
Ethernet Cat5/6
Ethernet Cat5/6
Wifi
110-220v AC
USB-C
Ethernet Cat5/6
5-30v DC
Direct Wire
Ethernet
Wifi
Modbus
Power
4G Transponder
(optional)

## Slide 52
My background
Understand 3 dimensions of IAQ’s impact on our health:
Microbiome
Immune system
Exposed tissues
Translate air monitoring data into a medically-based IAQ Health Index
Manage ventilation based on indoor and outdoor air quality
The Return-On-Investment of healthy and productive occupants
Today’s presentation
Notes: Georgi

## Slide 53
Healthy people are profitable in all occupied buildings

## Slide 54
Calculating ROI for IAQ improvements to improve productivity
Input | Example value
Employees | 100
Average salary + benefits | $90,000/year
Total annual labor cost | $9,000,000
Productivity loss from poor IAQ | 12%
Productivity recovered after IAQ improvement | 50% of lost productivity
Annual recovered productivity | 6%
Annual IAQ monitoring + remediation cost | $150,000
For a 100-person workplace with $90,000 average compensation, poor IAQ reduces productivity by 12%
If IAQ improvements recover half of that loss, the business gains approximately $540,000/year in recovered productivity
After a $150,000 annual IAQ investment, the net benefit is $390,000/year, producing an estimated 260% ROI with a payback period of about 3 months

## Slide 55
School IAQ → Improved Health & Learning → Increased Funding
IAQ Levers
Ventilation / ACH
Manage humidity (RH 40–60%)
In-space filtration
Central filtration
Health & Learning Mediators
↓ Absences (asthma, infections)
↑ Attention / cognition
↓ Headaches, drowsiness
Academic Outcomes
↑ Test scores
↑ Graduation & on-time promotion
↓ Failure & poor retention
Funding & Resources
Stable / ↑ enrollment
Better academic performance ratings
More grant & bond success
• 1–3% test score gain → higher rating tier
• 2–4% higher enrollment retention over 5 years
• Greater community support for levies / bonds
• Eligibility for performance-linked grants
• Each 1% enrollment retention in a 5,000-student district
≈ 50 students × $12,000 = $600,000/year preserved

## Slide 56
Summary: Poor IAQ harms humans and promotes disease
Weakened humans:
Impaired respiratory defenses
Compromised immunity
Damaged organs
Increased pathogen strength:
Enhanced transmission
Increased infectivity
Selection of “bad” over “good microbes

## Slide 57
Summary: Good IAQ supports healthy humans and microbes
Healthy humans:
Decreased allergies
Functioning immunity
Optimal cognitive performance
Supports good microbes:
Cleaner air environment
Healthy microbial diversity
Pathogens less infectious

## Slide 58: Headwinds

## Slide 59: The cost of energy is more tangible than illness costs
Measurable, fundable, low-risk: Energy KPIs are universal
Turnkey capital: Rebates, and decarbonization grants make financing easier
Clear ownership: Facilities control energy; clinical outcomes live elsewhere
Energy Dominates Facility Agendas

## Slide 60
Should ASHRAE consider occupant health in IAQ management?
“[our work] is the design, specification, selection, installation, and operation of HVAC equipment. Research on IAQ and occupant health will suggest complex, esoteric, unproven ‘solutions’ to health issues that will not be helpful and ultimately have little meaning to ASHRAE members”.
2016 answer….

## Slide 61: Tailwinds

## Slide 62
ASHRAE is embracing IAQ for health
ASHRAE President Bill McQuade
"Healthy Buildings: Designing for Life"

## Slide 63: United Nations global event September 23, 2025
"GLOBAL PUBLIC HEALTH LEADERS SIGN HISTORIC PLEDGE DECLARING HEALTHY INDOOR AIR A FUNDAMENTAL HUMAN RIGHT"

## Slide 64
Final story

## Slide 65
Indoor humidity was carefully managed for these humans
Why did we wait
,
“Arrrgghh, Why didn’t we manage IAQ sooner?

## Slide 66: If you don't have good metrics – you can get into big trouble!
My "landing" with an incorrect altimeter……
Having a good day with accurate altitude readings

## Slide 67
A better future
Continuous Data Measurement
Evaluate Impact on Human Health
Manage to real time conditions
Choose the most efficient options
The past
Based on limited, STATIC DATA
Scheduled HVAC run-times, resulting in unnecessary energy costs
Unknown impact on occupant health
Summary: Change is in the air for building management
Embrace change!
Energy
Energy
+
Health

## Slide 68
Thank you
Please ask questions!
Stephanie Taylor, MD, M Arch
stephanie@thinklite.com

## Slide 69: Unintended Consequences of Air Cleaning Chemistry
https://pubs.acs.org/doi/10.1021/acs.est.1c02582
Collins, D.B and Farmer D.K,
“Unintended Consequences of Air Cleaning Chemistry,” Environmental Science and Technology August 31, 2021
Summary – What We Know As of Now

## Slide 70
Blood-Brain Barrier
Disruption
02
Inhalation of airborne contaminants
01
Neuroinflammation
03
Cognitive Decline and
Memory Loss
04
Mental Health Risks
05
Impaired
Neurodevelopment
in Children
06

## Slide 71
Brain mechanisms: why subtle IAQ changes can reduce performance
Cognitive work depends on oxygen delivery, low inflammatory noise, stable autonomic tone and symptom-free attention.
1
Neurovascular supply
Changes in endothelial function, CO exposure or autonomic tone can alter cerebral perfusion and alertness.
2
Inflammatory signaling
Airway and systemic inflammation can increase fatigue, slow processing and reduce cognitive flexibility.
3
Sensory and symptom burden
Odors, irritation, headaches, dryness and cough consume attention and increase task switching.
4
Ventilation as context
Elevated CO₂ often indicates accumulation of human bioeffluents, VOCs and re-breathed air.
Implication: IAQ improvement can support attention, speed, judgment and error control before disease is visible.
04
Notes: Use this slide to explain that the productivity signal is not mysterious: it is a logical result of known physiological pathways that influence higher-order cognitive function.

## Slide 72
The causal chain: air becomes biology, biology becomes work output
Indoor contaminants and thermal conditions create physiological load that reaches the brain and changes performance.
1. IAQ inputs
Particles, ultrafines, CO₂/ventilation, VOCs, ozone, NO₂, CO, humidity and temperature.
2. Physiological load
Oxidative stress, airway irritation, inflammation, endothelial strain and altered oxygen delivery.
3. Brain function
Attention, working memory, processing speed, error monitoring, executive function and fatigue.
4. Productivity
Decision quality, speed, accuracy, collaboration, absenteeism and presenteeism.
Every breath translates building conditions into human performance.
02
Notes: Core message: IAQ should be presented as an upstream determinant of brain performance. Productivity is the downstream expression of physiological resilience or load.

## Slide 73
IAQ affects the physiology that supports cognitive work
The brain is influenced through pulmonary, vascular, immune, neuroendocrine, and microbiome-linked pathways.
Pulmonary gateway
Airway epithelium, mucociliary defense and alveolar gas exchange receive the first dose.
Vascular signaling
PM₂.₅, NO₂, ozone and CO can influence endothelial function and oxygen delivery.
Immune / inflammatory load
Cytokine signaling and oxidative stress can shift systemic physiology toward fatigue and cognitive drag.
Neurophysiology
Cerebral blood flow, autonomic tone, attention networks and executive function become vulnerable.
Microbiome interface
Humidity, particles and bioaerosols can shape microbial exposures and mucosal resilience.
The same biological systems that protect health also determine cognitive capacity.
Notes: Emphasize that brain performance is not only affected by “neurotoxins.” It is also affected indirectly through lung inflammation, vascular function, immune signaling, and sleepiness/fatigue pathways.

## Slide 74
Evidence: better indoor air is linked with better cognitive performance
COGfx controlled exposure study
Cognitive score index, Conventional = 100
100
Conventional
161
Green
201
Green+
+61%
+101%
Average cognitive scores were 61% higher in Green and 101% higher in Green+ conditions vs conventional.
Controlled office exposure
Ventilation and VOC reductions were associated with large improvements in decision-making scores, especially strategy, crisis response and information usage.
Multicountry real-world offices
Higher acute PM₂.₅ and CO₂ were associated with slower response times and lower accuracy in office workers.
Green-certified buildings
Workers in green-certified spaces scored higher on cognitive tests and reported fewer sick-building symptoms.
Practical takeaway
Building operations can influence brain-relevant exposures every day, not only during acute pollution events.
Evidence base
Allen et al., Environmental Health Perspectives; Cedeño-Laurent et al., Environmental Research Letters; MacNaughton et al., Building and Environment.
05
Notes: Factual basis: Allen et al. COGfx reported 61% and 101% higher cognitive scores in Green and Green+ conditions. Cedeño-Laurent et al. studied 302 office workers in six countries and linked acute indoor PM2.5 and CO2 to cognitive function.

## Slide 75
Productivity is the operational expression of brain physiology
Productivity losses show up as slower speed, more errors, reduced judgment quality, symptoms and missed work.
From physiology to financial value
Speed
faster response time and task completion
Accuracy
fewer mistakes, rework and near-misses
Judgment
better strategy, crisis response and information use
Resilience
less fatigue, fewer symptoms, fewer sick days
Team performance
improved communication and sustained focus
Value framing
Employees × salary cost × productivity regained × adoption factor
This converts IAQ improvement from a facility expense into a workforce-performance investment.
Notes: Use the formula as a conservative ROI framework. It can be populated with salaries, employee counts, attendance data, error rates, or task-specific KPIs.

## Slide 76
Cost/benefit of improved IAQ through productivity gains
Example: 100 employees × $100,000 loaded compensation = $10M annual payroll; $100K annual IAQ cost
$0K
$100K
$200K
$300K
$400K
$500K
0.0%
0.5%
1.0%
1.5%
2.0%
2.5%
3.0%
3.5%
4.0%
4.5%
5.0%
Annual IAQ cost / break-even line: $100K
$100K
$200K
$300K
$500K
Productivity improvement from better IAQ
Annual dollar value
Each 1% productivity improvement ≈ $100,000/year in value. Benefits above the $100K cost line represent positive annual return.

## Slide 77
Selected references
1. Allen JG, MacNaughton P, Satish U, et al. Associations of cognitive function scores with carbon dioxide, ventilation, and VOC exposures in office workers: a controlled exposure study of green and conventional office environments. Environmental Health Perspectives. 2016;124(6):805–812.
2. Cedeño-Laurent JG, Williams A, MacNaughton P, et al. Associations between acute exposures to PM₂.₅ and carbon dioxide indoors and cognitive function in office workers: a multicountry longitudinal prospective observational study. Environmental Research Letters. 2021;16(9):094047.
3. MacNaughton P, Satish U, Laurent JGC, et al. The impact of working in a green certified building on cognitive function and health. Building and Environment. 2017;114:178–186.
4. Wargocki P, Wyon DP, Sundell J, Clausen G, Fanger PO. The effects of outdoor air supply rate in an office on perceived air quality, sick building syndrome symptoms and productivity. Indoor Air. 2000;10(4):222–236.
5. Seppänen O, Fisk WJ, Lei QH. Ventilation and performance in office work. Indoor Air. 2006;16(1):28–36.
6. Zhou J, Wei W, Fan C, et al. Short-term exposure to indoor PM₂.₅ in office buildings and cognitive performance. Building and Environment. 2023;231:110042.
Notes: References and disclaimer for technical audiences.

## Slide 78: References: Particulate Matter
Dockery, D. W., Pope, C. A. III, Xu, X., Spengler, J. D., Ware, J. H., Fay, M. E., Ferris, B. G. Jr., & Speizer, F. E. (1993). An association between air pollution and mortality in six U.S. cities. New England Journal of Medicine, 329(24), 1753–1759.
Pope, C. A. III, Burnett, R. T., Thun, M. J., Calle, E. E., Krewski, D., Ito, K., & Thurston, G. D. (2002). Lung cancer, cardiopulmonary mortality, and long-term exposure to fine particulate air pollution. JAMA, 287(9), 1132–1141.
Hoek, G., Krishnan, R. M., Beelen, R., Peters, A., Ostro, B., Brunekreef, B., & Kaufman, J. D. (2013). Long-term air pollution exposure and cardio-respiratory mortality: A review. Environmental Health, 12, 43.
Brook, R. D., Rajagopalan, S., Pope, C. A. III, Brook, J. R., Bhatnagar, A., Diez-Roux, A. V., … Kaufman, J. D. (2010). Particulate matter air pollution and cardiovascular disease: An update to the scientific statement from the American Heart Association. Circulation, 121(21), 2331–2378.
Shah, A. S. V., Langrish, J. P., Nair, H., McAllister, D. A., Hunter, A. L., Donaldson, K., … Mills, N. L. (2013). Global association of air pollution and heart failure: A systematic review and meta-analysis. The Lancet, 382(9897), 1039–1048.
Allen, J. G., MacNaughton, P., Satish, U., Santanam, S., Vallarino, J., & Spengler, J. D. (2016). Associations of cognitive function scores with carbon dioxide, ventilation, and volatile organic compound exposures in office workers: A controlled exposure study of green and conventional office environments. Environmental Health Perspectives, 124(6), 805–812.

## Slide 79: References: CO2 and Ventilation
Oberdörster, G., Sharp, Z., Atudorei, V., Elder, A., Gelein, R., Lunts, A., … Kreyling, W. (2004). Translocation of inhaled ultrafine particles to the brain. Inhalation Toxicology, 16(6–7), 437–445.
Donaldson, K., Stone, V., Seaton, A., & MacNee, W. (2001). Ambient particle inhalation and the cardiovascular system: Potential mechanisms. Environmental Health Perspectives, 109(Suppl 4), 523–527.
Satish, U., Mendell, M. J., Shekhar, K., Hotchi, T., Sullivan, D., Streufert, S., & Fisk, W. J. (2012). Is CO₂ an indoor pollutant? Direct effects of low-to-moderate CO₂ concentrations on human decision-making performance. Environmental Health Perspectives, 120(12), 1671–1677.
Rudnick, S. N., & Milton, D. K. (2003). Risk of airborne infection transmission estimated from carbon dioxide concentration. Indoor Air, 13(3), 237–245.
Seppänen, O. A., Fisk, W. J., & Mendell, M. J. (1999). Association of ventilation rates and CO₂ concentrations with health and other responses in commercial and institutional buildings. Indoor Air, 9(4), 226–252.

## Slide 80: References: CO2 and Ventilation
VOCs / Aldehydes / Indoor Chemistry
Rumchev, K., Spickett, J., Bulsara, M., Phillips, M., & Stick, S. (2004). Association of domestic exposure to volatile organic compounds with asthma in young children. European Respiratory Journal, 24(6), 855–860.
Weschler, C. J. (2006). Ozone’s impact on public health: Contributions from indoor exposures to ozone and products of ozone-initiated chemistry. Environmental Health Perspectives, 114(10), 1489–1496.
Salthammer, T. (2011). Formaldehyde in the indoor environment. Chemical Reviews, 110(4), 2536–2572.
Relative Humidity (RH), Mucosal Integrity, & Infection
Noti, J. D., Blachere, F. M., McMillen, C. M., Lindsley, W. G., Kashon, M. L., Thewlis, R. E., … Beezhold, D. H. (2013). High humidity leads to loss of infectious influenza virus from simulated coughs. PLOS ONE, 8(2), e57485.
Kudo, E., Song, E., Yockey, L. J., Rakib, T., Wong, P. W., Homer, R. J., & Iwasaki, A. (2019). Low ambient humidity impairs barrier function and innate resistance to influenza infection. Proceedings of the National Academy of Sciences, 116(22), 10905–10910.
Institute of Medicine. (2004). Damp indoor spaces and health. National Academies Press.

## Slide 81: References: Ozone, Nitrogen dioxide, Fungi
McDonnell, W. F., Stewart, P. W., Andreoni, S., & Smith, M. V. (2010). Ozone-induced respiratory symptoms: Exposure–response models and extrapolations of findings from chamber studies to ambient exposures. Journal of Exposure Science and Environmental Epidemiology, 20, 2–19.
Bell, M. L., Peng, R. D., & Dominici, F. (2006). The exposure–response curve for ozone and risk of mortality and the adequacy of current ozone regulations. Environmental Health Perspectives, 114(4), 532–536.
Nitrogen Dioxide (NO₂)
Lin, W., Brunekreef, B., & Gehring, U. (2013). Meta-analysis of the effects of indoor nitrogen dioxide on children’s respiratory symptoms. Indoor Air, 23(4), 277–286.
Hulin, M., Simoni, M., Viegi, G., & Annesi-Maesano, I. (2012). Respiratory health and indoor air pollutants based on NO₂ and VOCs: A review. International Journal of Hygiene and Environmental Health, 215(3), 228–235.
Jarvis, D., Chinn, S., Luczynska, C., & Burney, P. (1996). Association of respiratory symptoms and lung function in young adults with use of domestic gas appliances. The Lancet, 347(8999), 426–431.
Mold, Dampness, Fungi
Mendell, M. J., Mirer, A. G., Cheung, K., Tong, M., & Douwes, J. (2011). Respiratory and allergic health effects of dampness, mold, and dampness-related agents: A review of the epidemiologic evidence. Environmental Health Perspectives, 119(6), 748–756.

## Slide 82: References: Airborne Infection, Wells–Riley equation
Riley, R. L., & Murphy, G. (1978). Airborne spread of measles in a suburban elementary school. American Journal of Epidemiology, 107(5), 421–432.
Li, Y., Leung, G. M., Tang, J. W., Yang, X., Chao, C. Y. H., Lin, J. Z., … Yuen, P. L. (2007). Role of ventilation in airborne transmission of infectious agents in the built environment. Indoor Air, 17(1), 2–18.
Nardell, E. A., et al. (2008). Safety, efficacy, and acceptability of upper-room ultraviolet germicidal irradiation for preventing airborne contagion in healthcare settings. Proceedings of the National Academy of Sciences, 105(46), 18027–18032.
Azimi, P., & Stephens, B. (2013). HVAC filtration for controlling infectious bioaerosols. Building and Environment, 70, 150–160.
Immune Suppression, Physiologic Pathways
Totlandsdal, A. I., Cassee, F. R., Schwarze, P. E., Refsnes, M., & Lag, M. (2015). Diesel exhaust particles impair the ability of human macrophages to phagocytose apoptotic cells. Toxicology Letters, 239(3), 166–172.
Block, M. L., & Calderón-Garcidueñas, L. (2009). Air pollution: Mechanisms of neuroinflammation and CNS disease. Trends in Neurosciences, 32(9), 506–516.

## Slide 83: References: Airborne Infection, Wells–Riley equation
Farina, F., Sancini, G., Battaglia, C., Tinaglia, V., Mantecca, P., Camatini, M., & Palestini, P. (2011). Milano summer particulate matter (PM₁₀) triggers lung inflammation and extra-pulmonary toxicity in mice. Toxicology Letters, 202(3), 209–217.
Cognitive Performance & Productivity
Wargocki, P., & Wyon, D. P. (2013). Providing better thermal and air quality conditions in school classrooms would be cost-effective. HVAC&R Research, 19(8), 886–897.
Bako-Biró, Z., Clements-Croome, D. J., Kochhar, N., Awbi, H. B., & Williams, M. J. (2012). Ventilation rates in schools and pupils’ performance. Building and Environment, 48, 215–223.
Shaughnessy, R. J., Haverinen-Shaughnessy, U., Nevalainen, A., & Moschandreas, D. (2006). A school-based intervention using HEPA filtration units: Impact on airborne particulates and student health. Indoor Air, 16(6), 465–473.

## Slide 84: References: Hospital IAQ and infections
Beggs, C. B., Shepherd, S. J., & Kerr, K. G. (2008). Potential for airborne transmission of infection in the indoor environment. Journal of the Royal Society Interface, 5(26), 575–586.
Fusco, F. M., et al. (2012). Air quality in healthcare environments and its relation to infection control. Indoor Air, 22(5), 369–379.
Haidar, E., Bate, L., Sivakumar, B., & Keevil, C. (2016). Airborne contamination in critical care units and the risk of infection. Journal of Hospital Infection, 92(3), 228–235.
Qian, H., Li, Y., Seto, W. H., Ching, P., Ching, W. H., & Sun, H. Q. (2010). Natural ventilation reduces airborne infection risk in hospitals. Indoor Air, 20(6), 517–528.

## Slide 85: References: Microbes
Adams, R. I., Miletto, M., Taylor, J. W., & Bruns, T. D. (2013). Dispersal in microbes: fungi in indoor air are dominated by outdoor air and show dispersal limitation at short distances. The ISME Journal, 7(7), 1262–1273. https://doi.org/10.1038/ISMEJ.2013.28
Bosch, T. C. G., Wigley, M., Colomina, B., Bohannan, B., Meggers, F., Amato, K. R., Azad, M. B., Blaser, M. J., Brown, K., Dominguez-Bello, M. G., Finlay, B. B., Geddie, K., Geva-Zatorsky, N., Giles-Vernick, T., Gros, P., Guillemin, K., Ehrlich, S. D., Elinav, E., Haraoui, L. P., … Melby, M. K. (2024). The potential importance of the built-environment microbiome and its impact on human health. Proceedings of the National Academy of Sciences of the United States of America, 121(20), e2313971121. https://doi.org/10.1073/PNAS.2313971121/ASSET/312D1AA2-FD36-4C02-82E1-F24864FEE474/ASSETS/IMAGES/LARGE/PNAS.2313971121FIG01.JPG
Dai, D., Prussin, A. J., Marr, L. C., Vikesland, P. J., Edwards, M. A., & Pruden, A. (2017). Factors Shaping the Human Exposome in the Built Environment: Opportunities for Engineering Control. Environmental Science and Technology, 51(14), 7759–7774. https://doi.org/10.1021/ACS.EST.7B01097/ASSET/IMAGES/LARGE/ES-2017-01097Y_0005.JPEG

## Slide 86: References: Microbes
Dannemiller, K. C., Gent, J. F., Leaderer, B. P., & Peccia, J. (2016). Indoor microbial communities: Influence on asthma severity in atopic and nonatopic children. Journal of Allergy and Clinical Immunology, 138(1), 76-83.e1. https://doi.org/10.1016/J.JACI.2015.11.027
Fu, X., Ou, Z., & Sun, Y. (2022). Indoor microbiome and allergic diseases: From theoretical advances to prevention strategies. Eco-Environment & Health, 1(3), 133–146. https://doi.org/10.1016/J.EEHL.2022.09.002
Gatto, M. R., Mansour, A., Li, A., & Bentley, R. (2024). A State-of-the-Science Review of the Effect of Damp- and Mold-Affected Housing on Mental Health. Environmental Health Perspectives, 132(8), 86001. https://doi.org/10.1289/EHP14341/SUPPL_FILE/EHP14341.S001.ACCO.PDF
Gilbert, J., & Hartmann, E. (2024). The indoors microbiome and human health. Nature Reviews Microbiology Volume 22, 742–755. https://doi.org/10.1038/s41579-024-01077-3
Hospodsky, D., Qian, J., Nazaroff, W. W., Yamamoto, N., Bibby, K., Rismani-Yazdi, H., & Peccia, J. (2012). Human Occupancy as a Source of Indoor Airborne Bacteria. PLOS ONE, 7(4), e34867. https://doi.org/10.1371/JOURNAL.PONE.0034867

## Slide 87: References: Microbes
Kembel, S. W., Jones, E., Kline, J., Northcutt, D., Stenson, J., Womack, A. M., Bohannan, B. J. M., Brown, G. Z., & Green, J. L. (2012). Architectural design influences the diversity and structure of the built environment microbiome. The ISME Journal, 6(8), 1469–1479. https://doi.org/10.1038/ISMEJ.2011.211
Kirjavainen, P. V., Karvonen, A. M., Adams, R. I., Täubel, M., Roponen, M., Tuoresmäki, P., Loss, G., Jayaprakash, B., Depner, M., Ege, M. J., Renz, H., Pfefferle, P. I., Schaub, B., Lauener, R., Hyvärinen, A., Knight, R., Heederik, D. J. J., von Mutius, E., & Pekkanen, J. (2019). Farm-like indoor microbiota in non-farm homes protects children from asthma development. Nature Medicine 2019 25:7, 25(7), 1089–1095. https://doi.org/10.1038/s41591-019-0469-4
Klepeis, N. E., Nelson, W. C., Ott, W. R., Robinson, J. P., Tsang, A. M., Switzer, P., Behar, J. V., Hern, S. C., & Engelmann, W. H. (2001). The National Human Activity Pattern Survey (NHAPS): a resource for assessing exposure to environmental pollutants. Journal of Exposure Analysis and Environmental Epidemiology, 11(3), 231–252. https://doi.org/10.1038/SJ.JEA.7500165
Kramer, A., Schwebke, I., Kampf, G., (2006) How long do nosocomial pathogens persist on inanimate surfaces? A systematic review. BMC Infectious Diseases, 6:130 doi:10.1186/1471-2334-6-130

## Slide 88
Lynch SV, Wood RA, Boushey H, Bacharier LB, Bloomberg GR, Kattan M, et al. Effects of early-life exposure to allergens and bacteria on recurrent wheeze and atopy in urban children. J Allergy Clin Immunol. 2014;134:593–601.e12.
Ma, Z., Zuo, T., Frey, N., & Rangrez, A. Y. (2024). A systematic framework for understanding the microbiome in human health and disease: from basic principles to clinical translation. Signal Transduction and Targeted Therapy 2024 9:1, 9(1), 1–36. https://doi.org/10.1038/s41392-024-01946-6
Mannan, M., & Al-Ghamdi, S. G. (2021). Indoor Air Quality in Buildings: A Comprehensive Review on the Factors Influencing Air Pollution in Residential and Commercial Structure. International Journal of Environmental Research and Public Health, 18(6), 3276. https://doi.org/10.3390/IJERPH18063276
Martin, L. J., Adams, R. I., Bateman, A., Bik, H. M., Hawks, J., Hird, S. M., Hughes, D., Kembel, S. W., Kinney, K., Kolokotronis, S. O., Levy, G., McClain, C., Meadow, J. F., Medina, R. F., Mhuireach, G., Moreau, C. S., Munshi-South, J., Nichols, L. M., Palmer, C., … Dunn, R. R. (2015). Evolution of the indoor biome. Trends in Ecology & Evolution, 30(4), 223–232. https://doi.org/10.1016/J.TREE.2015.02.001
References: Microbes

## Slide 89
McAlister, J. S., Blum, M. J., Bromberg, Y., Fefferman, N. H., He, Q., Lofgren, E., Miller, D. L., Schreiner, C., Candan, K. S., Szabo-Rogers, H., & Reed, J. M. (2025). An interdisciplinary perspective of the built-environment microbiome. FEMS Microbiology Ecology, 101(1), 166. https://doi.org/10.1093/FEMSEC/FIAE166
Meadow, J. F., Altrichter, A. E., Kembel, S. W., Kline, J., Mhuireach, G., Moriyama, M., Northcutt, D., O’Connor, T. K., Womack, A. M., Brown, G. Z., Green, J. L., & Bohannan, B. J. M. (2014). Indoor airborne bacterial communities are influenced by ventilation, occupancy, and outdoor air source. Indoor Air, 24(1), 41–48. https://doi.org/10.1111/INA.12047
Mendell, M. J., Mirer, A. G., Cheung, K., Tong, M., & Douwes, J. (2011). Respiratory and allergic health effects of dampness, mold, and dampness-related agents: a review of the epidemiologic evidence. Environmental Health Perspectives, 119(6), 748–756. https://doi.org/10.1289/EHP.1002410
Mujan, I., Licina, D., Kljajić, M., Čulić, A., & Anđelković, A. S. (2021). Development of indoor environmental quality index using a low-cost monitoring platform. Journal of Cleaner Production, 312, 127846. https://doi.org/10.1016/J.JCLEPRO.2021.127846
References: Microbes

## Slide 90
National Academy of Sciences. (2017). Microbiomes of the Built Environment: A Research Agenda for Indoor Microbiology, Human Health, and Buildings. In Microbiomes of the Built Environment. National Academies Press. https://doi.org/10.17226/23647
Nimlyat, P. S., & Kandar, M. Z. (2015). Appraisal of indoor environmental quality (IEQ) in healthcare facilities: A literature review. Sustainable Cities and Society, 17, 61–68. https://doi.org/10.1016/J.SCS.2015.04.002
Núñez, A., & García, A. M. (2022). Effect of the passive natural ventilation on the bioaerosol in a small room. Building and Environment, 207, 108438. https://doi.org/10.1016/J.BUILDENV.2021.108438
Ogunrinola, G., Oyewale, J., Oshamika, O., Olasehinde, G., (2020). The Human Microbiome and Its Impacts on Health. International Journal of Microbiology, Volume 2020, Article ID 8045646, https://doi.org/10.1155/2020/8045646
Porter, L., Sultan, O., Mitchell, B., Jenney, A., Kiernan, M., Brewster D., Russo, P. (2024) How long do nosocomial pathogens persist on inanimate surfaces? A scoping review. Journal of Hospital Infection, Volume 147, 25 - 31. DOI: 10.1016/j.jhin.2024.01.023
References: Microbes

## Slide 91
Prussin, A. J., & Marr, L. C. (2015). Sources of airborne microorganisms in the built environment. Microbiome 2015 3:1, 3(1), 1–10. https://doi.org/10.1186/S40168-015-0144-Z
Rook GAW (2023) The old friends hypothesis: evolution, immunoregulation and essential microbial inputs. Front. Allergy 4:1220481. doi: 10.3389/falgy.2023.1220481
Stein, MM., Hrusch, CL., Gozdz, J., Igartua, C., Pivniouk, V., Murray, S., Ledford, JG., Marques dos Santos, M., Anderson, RL., Metwali, N., Neilson, JW., Maier, RM., Gilbert, JA., Holbreich, M., Thorne, PS., Martinez, FD., von Mutius, E., Vercelli, D., Ober, C., Sperling, AI. (2016). Innate immunity and asthma risk in amish and hutterite farm children. The New England Journal of Medicine, 375 (5). DOI: 10.1056/NEJMoa1508749
Von Mutius, E. (2016). The microbial environment and its influence on asthma prevention in early life. Journal of Allergy and Clinical Immunology, 137(3), 680–689. https://10.1016/j.jaci.2015.12.1301
Wolkoff, Peder. 2023. Indoor Air Humidity Revisited: Impact on Acute Symptoms, Work Productivity, and Risk of Influenza and COVID-19 Infection. International Journal of Hygiene and Environmental Health 256 (December), 114313. https://doi.org/10.1016/j.ijheh.2023.114313
References: Microbes

## Slide 92: References: Multipollutant Health Impacts
ATSDR (Agency for Toxic Substances and Disease Registry), 2018. Framework for assessing health impacts of multiple chemicals and other stressors (update). Available online: https://www.atsdr.cdc.gov/interactionprofiles/ ip-ga/ipga.pdf
Azimonti G, Galimberti F, Marchetto F, Menaballi L, Ullucci S, Pellicioli F, Alessandra C, Lidia C, Alessio I, Angelo M, de Boer W and van der Voet H, 2015. Comparison of NOEC values to EC10/EC20 values, including confidence intervals, in aquatic and terrestrial ecotoxicological risk assessment. EFSA Supporting Publications, 12(12), p.906E.
Baas J, Jager T and Kooijman B, 2010. A review of DEB theory in assessing toxic effects of mixtures. Science of the Total Environment, 408, 3740–3745.
Baas J, Augustine S, Marques GM and Dorne JL, 2018. Dynamic energy budget models in ecological risk assessment: from principles to applications. Science of the Total Environment, 628–629, 249–260.
Backhaus T, Brooks BW and Kapustka L, 2010. Chemical risk assessment: pressures, perceptions and expectations. Integrated Environmental Assessment and Management,6, 323–324.

## Slide 93: References: Multipollutant Health Impacts
Bjarnason SG, 2004. Toxicology of chemical mixtures: a review of mixtures assessment (No. DRDC-TM-2004-016). Defence research and Development Suffield (ALBERTA).
Bopp S, Berggren E, Kienzler A, van der Linden S and Worth A, 2015. Scientific methodologies for the assessment of combined effects of chemicals – a survey and literature review. JRC Technical Reports, 64.
Bopp SK, Kienzler A, van der Linden S, Richarz A-N, Triebe J and Worth A, 2016. Review of case studies on the human and environmental risk assessment of chemical mixtures: Identification of priorities, methodologies, data gaps, future needs. JRC Technical Reports.
Bopp SK, Barouki R, Brack W, Dalla Costa S, Dorne JLC, Drakvik PE, Faust M, Karjalainen TK, Kephalopoulos S, van Klaveren J and Kolossa-Gehring M, 2018. Current EU research activities on combined exposure to multiple chemicals. Environment International, 120, 544–562.

## Slide 94: References: Multipollutant Health Impacts
Bosgra S, van der Voet H, Boon PE and Slob W, 2009. An integrated probabilistic framework for cumulative risk assessment of common mechanism chemicals in food: an example with organophosphorus pesticides. Regulatory Toxicology and Pharmacology., 54, 124–133. https://doi.org/10.1016/j.yrtph.2009.03.004
van Broekhuizen FA, Posthuma L and Traas TP (RIVM), 2016. Addressing combined effects of chemicals in environmental safety assessment under REACH – A thought starter. 36 pp. Available online: https://www.rivm.
Carvalho RN, Arukwe A, Ait-Aissa S, Bado-Nilles A, Balzamo S, Baun A, Belkin S, Blaha L, Brion F, Conti D and Creusot N, 2014. Mixtures of chemical pollutants at European legislation safety concentrations: how safe are they? Toxicological Sciences, 141, 218–233.
Cedergreen N, 2014. Quantifying synergy: a systematic review of mixture toxicity studies within environmental toxicology. PLoS ONE, 9, e96580. https://doi.org/10.1371/journal.pone.0096580
Cedergreen N, Dalhoff K, Li D, Gottardi M and Kretschmann AC, 2017. Can toxicokinetic and toxicodynamic modeling be used to understand and predict synergistic interactions between chemicals? Environmental Science and Technology, 51, 14379–14389

## Slide 95: References: Multipollutant Health Impacts
World Health Organization Regional Office for Europe. (2009). WHO guidelines for indoor air quality:dampness and mould. World Health Organization, 228. https://books.google.com/books/about/WHO_Guidelines_for_Indoor_Air_Quality.html?hl=es&id=PxB8UUHihWgC
Zhang, D., Mui, K. W., & Wong, L. T. (2023). Ten Questions Concerning Indoor Environmental Quality (IEQ) Models: The Development and Applications. Applied Sciences 2023, Vol. 13, Page 3343, 13(5), 3343. https://doi.org/10.3390/APP13053343
Zhao, Y., & Li, D. (2023). Multi-domain indoor environmental quality in buildings: A review of their interaction and combined effects on occupant satisfaction. Building and Environment, 228, 109844. https://doi.org/10.1016/J.BUILDENV.2022.109844